## Slide 1: The effect of limb position on myoelectric prosthetic control using linear regression
Scientific Methods and Communication Conference 2017
December 14, 2017
Group 7404
Irene Uriarte, Martin Garenfeld, Oliver Damsgaard and Simon Bruun
School of Medicine and Health
Aalborg University, Denmark

## Slide 2: Introduction
Myoelectric Prosthetics

## Slide 3: Introduction
Variations in limb position lowers accuracy [1]
[1] Fougner et al. IEEE TNSRE (2011)

## Slide 4: Introduction
Variations in limb position lowers accuracy [1]
Classification [1] VS regression [2]
[1] Fougner et al. IEEE TNSRE (2011)
[2] Hahne et al. IEEE TNSRE (2014)

## Slide 5: Introduction
Variations in limb position lowers accuracy [1]
Classification [1] VS regression [2]
Test performance of linear regression- based control across different limb positions
[1] Fougner et al. IEEE TNSRE (2011)
[2] Hahne et al. IEEE TNSRE (2014)

## Slide 6: Methods and Materials

## Slide 7: Methods and Materials

## Slide 8: Methods and Materials

## Slide 10: Results

## Slide 11: Results
Significant difference between MAV and LogVar (p = 0.0007)

## Slide 12: Results
Significant difference between MAV and LogVar (p = 0.00082)

## Slide 13: Results
Significant difference between MAV training and MAV test data (p = 0.0002)
Significant difference between LogVar training and LogVar test data (p = 0.0002)

## Slide 14: Results
No significant difference between limb positions (p = 0.16)

## Slide 15: Results
No significant difference between limb positions (p = 0.56)

## Slide 16: Results
No significant difference between MAV and LogVar (p = 0.13)

## Slide 17: Discussion
No significant difference in performance across limb positions
[3] Hwang et al. PLoS ONE (2017)

## Slide 18: Discussion
No significant difference in performance across limb positions
No correlation between offline and online test
[3] Hwang et al. PLoS ONE (2017)

## Slide 19: Discussion
No significant difference in performance across limb positions
Findings agree with recently published study [3]
[3] Hwang et al. PLoS ONE (2017)

## Slide 20: Discussion
No significant difference in performance across limb positions
Findings agree with recently published study [3]
No significant difference in performance between the MAV and LogVar feature
[3] Hwang et al. PLoS ONE (2017)

## Slide 21: Discussion
No significant difference in performance across limb positions
Findings agree with recently published study [3]
No significant difference in performance between the MAV and LogVar feature
Large potential in linear regression-based myoelectric prosthetic control
[3] Hwang et al. PLoS ONE (2017)

## Slide 22: Acknowledgement
Supervisors: Strahinja Dosen, Jakob Dideriksen and Lotte Struijk
SMH for providing equipment
Test subjects

## Slide 23
Thank you